## Slide 1
GridMind
Intelligent Campus Energy Orchestration
Convergence 2026
Notes: Good morning everyone. We're Team [Name], and today we're presenting GridMind — an intelligent energy orchestration platform designed specifically for Midwest State University's campus. Over the next 10 minutes, we'll show you how to save $7 million a year on a $28 million energy bill.

## Slide 2
Where $28 Million Goes
Research Labs
98M kWh (46.7%)
Academic
72M kWh (34.3%)
Residence
45M kWh (21.4%)
Athletic
37.5M kWh (17.9%)
20 labs = 17% of buildings but 47% of energy. Labs are 4-5x more energy-intensive.
75% buildings unmetered
60% peak price premium
18% consumption growth in 5 years
Notes: MSU spends $28 million a year on energy across 120 buildings. But look at this breakdown — research labs are just 17% of buildings but consume nearly half of all energy. That's our primary target. And here's the challenge: 75% of buildings have no real-time metering. We're flying blind on most of the campus.

## Slide 3
Three Ideas Other Teams Won't Have
Proxy Metering
Use the 25% metered buildings to model the other 75% — save $1M in sensor costs
Thermal Ice Storage
Make ice at night ($0.106/kWh), cool by day ($0.17/kWh). Same comfort, 37% less cost
Self-Funding Cascade
Phase 1 savings pay for Phase 2. $12M invested -> $15M net savings in 5 years
Notes: Here are our three differentiators. First, proxy metering — we don't need sensors in every building. We use statistical models trained on the 30 metered buildings to estimate the other 90. Second, thermal ice storage — we make ice at night when power is cheap and use it for cooling during expensive peak hours. Third, our phased approach means Phase 1 ROI funds Phase 2.

## Slide 4
GridMind Architecture
Finance Layer
ROI Optimizer | Budget Tracker | Carbon Accounting | Peak Arbitrage
Software Layer
Proxy Metering | Dashboard | Analytics | Predictive Maintenance
Engineering Layer
Sensors | VAV Controllers | Steam Trap Monitors | Ice Storage
↑ Data flows up | ↓ Commands flow down
Notes: Our architecture has three layers. The engineering layer is the physical infrastructure — sensors, controllers, and the ice storage system. The software layer is where the intelligence lives — our proxy metering engine, the real-time dashboard, and predictive analytics. The finance layer ties it all together — tracking ROI, managing the phased budget, and optimizing for carbon reduction.

## Slide 5
Strategic Sensor Deployment
Research Labs
VAV boxes + VOC sensors + DCV controls
General/Academic
Smart meters + occupancy sensors + BACnet integration
Athletic Facilities
Ice storage controllers + VFDs + pool pump optimization
Total IoT Hardware: $350K
That's 2.9% of the $12M budget
This is a software solution
with targeted hardware
A single failed steam trap wastes $5-15K/year. We monitor all of them.
Notes: We're not proposing blanket sensor deployment. We strategically instrument the 20 labs that consume 47% of energy. Our total hardware cost is just $350K — less than 3% of the budget. This is fundamentally a software solution.

## Slide 6
See Everything, Optimize Everything
LIVE DEMO
Switching to campus dashboard...
Proxy Metering · Real-time Alerts · Before/After Toggle · Building Efficiency Scoring
Notes: Now let me switch to our live dashboard. You'll see every building on campus with real-time energy data. Watch what happens when I toggle GridMind optimization on — every metric on the page responds. The red alerts turn green. The energy curve drops. This is what comprehensive campus energy management looks like.

## Slide 7
AI: Campus-Wide Energy Orchestration
LIVE DEMO
Switching to AI engine simulation...
Lab ventilation:
40-60% savings
Cross-building
load balancing
Predictive
maintenance
Notes: Our AI engine makes building-by-building decisions every 15 minutes. Watch the Chemistry Lab — as researchers leave for the night, the AI automatically reduces ventilation from 10 ACH to 2 ACH, saving $34 per hour. Multiply that across 20 labs and you understand why labs are our primary target.

## Slide 8
Before vs After: The Numbers
LIVE DEMO
Interactive energy simulation...
Baseline
210M kWh/yr
With GridMind
131M kWh/yr
Annual Savings
$7.3M
Energy Reduction
38%
Notes: Our interactive simulation lets you adjust each optimization lever independently. Move the lab ventilation slider and watch the energy curve drop in real-time. The numbers are based on real case studies — UC Irvine achieved 61% reduction in their labs.

## Slide 9
$12M Budget -> $27M in Savings
Year | Spend | Savings | Cumulative | Net
1 | $2.8M | $1.8M | $1.8M | -$1.0M
2 | $2.6M | $4.3M | $6.1M | +$3.5M
3 | $2.6M | $6.3M | $12.4M | +$6.1M
4 | $2.0M | $7.3M | $19.7M | +$7.7M
5 | $2.0M | $7.3M | $27.0M | +$15.0M
Payback: 22mo
IRR: 45-55%
NPV: $38M
Net: +$15M
Phase 1 is independently viable. If budget is cut, Phase 1 alone delivers $1.8M/yr on $2.8M investment.
Notes: Let's talk money. We invest $12 million over 5 years and generate $27 million in savings. That's a net positive of $15 million. The payback period is just 22 months. And critically, Phase 1 stands on its own — $2.8 million investment, $1.8 million first-year savings.

## Slide 10
Why GridMind Wins
1
We solve the data problem first — proxy metering means you don't need $1M in sensors to start saving
2
We target the right buildings — 20 labs, 47% of campus energy
3
We pay for ourselves — $15M net savings, 22-month payback, 45% IRR
Thank you.
Notes: Three reasons GridMind wins. One: we solve the data problem creatively with proxy metering. Two: we focus on the highest-impact buildings. Three: the numbers speak for themselves. $15 million in net savings, 22-month payback, and 45% IRR. Thank you.